| Item No | LV1105.1/ LV1105.2/ LV1105.3 |
| --- | --- |
| Power Consumption | 50W |
| Total Lumens | 400lm |
| Input Voltage | AC100-240V |
| Output Voltage | 10V |
| Current | 500mA |
| LED module(COB) | Sharp |
| CRI | >85 |
| Power Factor | >0.95 |
| Cut Holing(mm) | Ø 250mm |
| Beam Angle | 20°/ 36°/ 50° |
| CCT | 3000K / 4000K / 5000K |
| IP Rate | IP20 |
| Materials | Aluminum alloy |
| Life span | 50000 hrs |

Product Dimensions

Lumination distribution curve:

Applications:

1. Replacement for traditional recessed lights 
2. Ceiling light 
3. Shopping center 
4. Walkway 
5. Hotel 
6. Restaurant 
7. Entertainment places
8. Display case
9. Museum
10. Household